## Observations
Profile | Name | Category Code | Category VS | Code | Code VS | Time Types | Value Types | Data Absent Reason | Body Site | Method
convergence-assessment | Convergence Assessment | null#exam |  | FHIR4Eyes Code System#convergence-assessment |  | dateTime, Period, Timing, instant | CodeableConceptĵ | optional
corrected-intraocular-pressure | Corrected Intraocular Pressure | null#exam |  | FHIR4Eyes Code System#corrected-intraocular-pressure |  | dateTimeĵ, Periodĵ, Timingĵ, instantĵ | Quantityĵ | optional
cover-test | Cover Test | null#exam |  | FHIR4Eyes Code System#cover-test |  | dateTime, Period, Timing, instant | CodeableConceptĵ, stringĵ | optional
| Cover Test |  |  | FHIR4Eyes Code System#correction-status |  |  | CodeableConcept | optional
| Cover Test |  |  | FHIR4Eyes Code System#test-distance-category |  |  | CodeableConcept | optional
ct-anterior-chamber | Corneal Tomography - Anterior Chamber | null#exam |  | FHIR4Eyes Code System#corneal-tomography-anterior-chamber |  | dateTimeĵ, Periodĵ, Timingĵ, instantĵ | Quantity, CodeableConcept, string, boolean, integer, Range, Ratio, SampledData, time, dateTime, Period | optional
| Corneal Tomography - Anterior Chamber |  |  | FHIR4Eyes Code System#anterior-chamber-depth |  |  | Quantity | optional
| Corneal Tomography - Anterior Chamber |  |  | FHIR4Eyes Code System#anterior-chamber-volume |  |  | Quantity | optional
| Corneal Tomography - Anterior Chamber |  |  | FHIR4Eyes Code System#anterior-chamber-angle |  |  | Quantity | optional
| Corneal Tomography - Anterior Chamber |  |  | FHIR4Eyes Code System#pupil-diameter |  |  | Quantity | optional
| Corneal Tomography - Anterior Chamber |  |  | FHIR4Eyes Code System#lens-thickness |  |  | Quantity | optional
ct-anterior-surface | Corneal Tomography - Anterior Surface | null#exam |  | FHIR4Eyes Code System#corneal-tomography-anterior-surface |  | dateTimeĵ, Periodĵ, Timingĵ, instantĵ | Quantity, CodeableConcept, string, boolean, integer, Range, Ratio, SampledData, time, dateTime, Period | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#keratometry-k1 |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#keratometry-k1-axis |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#keratometry-k1-radius |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#keratometry-k2 |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#keratometry-k2-axis |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#keratometry-k2-radius |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#keratometry-km |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#corneal-astigmatism |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#keratometry-kmax |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#simulated-keratometry |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#corneal-radius-horizontal |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#corneal-radius-vertical |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#radius-minimum-curvature |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#corneal-asphericity-q-anterior |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#elevation-anterior |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#best-fit-sphere-radius-anterior |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#surface-regularity-index |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#surface-asymmetry-index |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#inferior-superior-asymmetry |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#kisa-index |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#keratometric-index |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#topographic-pattern |  |  | CodeableConcept | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#total-corneal-refractive-power |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#true-net-power |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#equivalent-keratometry-1mm |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#equivalent-keratometry-3mm |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#equivalent-keratometry-4-5mm |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#corneal-mean-power-3mm-zone |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#corneal-astigmatism-power-3mm-zone |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#corneal-steep-axis-3mm-zone |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#corneal-flat-axis-3mm-zone |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#corneal-mean-power-5mm-zone |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#corneal-astigmatism-power-5mm-zone |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#corneal-steep-axis-5mm-zone |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#corneal-flat-axis-5mm-zone |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#total-corneal-astigmatism |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#corneal-irregular-astigmatism |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#corneal-hoa-rms |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#angle-kappa |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#angle-kappa-intercept |  |  | string | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#surgically-induced-astigmatism |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#predicted-postoperative-corneal-astigmatism |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#toric-iol-optimal-axis |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#signal-strength |  |  | CodeableConcept | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#corneal-vertex-location |  |  | string | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#pupil-centroid-x |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#pupil-centroid-y |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#equivalent-pupil-radius |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#corneal-topography-map-type |  |  | CodeableConcept | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#corneal-analyzed-area |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#corneal-eccentricity-index |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#keratoconus-prediction-index |  |  | Quantity | optional
| Corneal Tomography - Anterior Surface |  |  | FHIR4Eyes Code System#potential-visual-acuity-decimal |  |  | Quantity | optional
ct-densitometry | Corneal Tomography - Densitometry | null#exam |  | FHIR4Eyes Code System#corneal-densitometry |  | dateTimeĵ, Periodĵ, Timingĵ, instantĵ | Quantity, CodeableConcept, string, boolean, integer, Range, Ratio, SampledData, time, dateTime, Period | optional
| Corneal Tomography - Densitometry |  |  | FHIR4Eyes Code System#corneal-densitometry-zone-0-2mm |  |  | Quantity | optional
| Corneal Tomography - Densitometry |  |  | FHIR4Eyes Code System#corneal-densitometry-zone-2-6mm |  |  | Quantity | optional
| Corneal Tomography - Densitometry |  |  | FHIR4Eyes Code System#corneal-densitometry-zone-6-10mm |  |  | Quantity | optional
| Corneal Tomography - Densitometry |  |  | FHIR4Eyes Code System#corneal-densitometry-total |  |  | Quantity | optional
| Corneal Tomography - Densitometry |  |  | FHIR4Eyes Code System#corneal-densitometry-anterior-layer |  |  | Quantity | optional
| Corneal Tomography - Densitometry |  |  | FHIR4Eyes Code System#corneal-densitometry-central-layer |  |  | Quantity | optional
| Corneal Tomography - Densitometry |  |  | FHIR4Eyes Code System#corneal-densitometry-posterior-layer |  |  | Quantity | optional
ct-keratoconus-indices | Corneal Tomography - Keratoconus Indices | null#exam |  | FHIR4Eyes Code System#keratoconus-indices |  | dateTimeĵ, Periodĵ, Timingĵ, instantĵ | Quantity, CodeableConcept, string, boolean, integer, Range, Ratio, SampledData, time, dateTime, Period | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#bad-d |  |  | Quantity | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#bad-df |  |  | Quantity | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#bad-db |  |  | Quantity | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#pachymetric-progression |  |  | Quantity | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#bad-dt |  |  | Quantity | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#bad-dy |  |  | Quantity | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#bad-classification |  |  | CodeableConcept | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#enhanced-best-fit-sphere-radius-anterior |  |  | Quantity | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#enhanced-best-fit-sphere-radius-posterior |  |  | Quantity | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#amsler-krumeich-stage |  |  | CodeableConcept | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#belin-abcd-grade |  |  | string | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#index-surface-variance |  |  | Quantity | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#index-vertical-asymmetry |  |  | Quantity | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#keratoconus-index |  |  | Quantity | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#center-keratoconus-index |  |  | Quantity | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#index-height-asymmetry |  |  | Quantity | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#index-height-decentration |  |  | Quantity | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#radius-minimum-sagittal |  |  | Quantity | optional
| Corneal Tomography - Keratoconus Indices |  |  | FHIR4Eyes Code System#topographic-keratoconus-classification |  |  | CodeableConcept | optional
ct-pachymetry | Corneal Tomography - Pachymetry | null#exam |  | FHIR4Eyes Code System#corneal-tomography-pachymetry |  | dateTimeĵ, Periodĵ, Timingĵ, instantĵ | Quantity, CodeableConcept, string, boolean, integer, Range, Ratio, SampledData, time, dateTime, Period | optional
| Corneal Tomography - Pachymetry |  |  | FHIR4Eyes Code System#central-corneal-thickness |  |  | Quantity | optional
| Corneal Tomography - Pachymetry |  |  | FHIR4Eyes Code System#corneal-thickness-pupil-centre |  |  | Quantity | optional
| Corneal Tomography - Pachymetry |  |  | FHIR4Eyes Code System#corneal-thickness-thinnest |  |  | Quantity | optional
| Corneal Tomography - Pachymetry |  |  | FHIR4Eyes Code System#corneal-thinnest-point-location |  |  | string | optional
| Corneal Tomography - Pachymetry |  |  | FHIR4Eyes Code System#corneal-volume |  |  | Quantity | optional
| Corneal Tomography - Pachymetry |  |  | FHIR4Eyes Code System#pachymetric-progression |  |  | Quantity | optional
ct-posterior-surface | Corneal Tomography - Posterior Surface | null#exam |  | FHIR4Eyes Code System#corneal-tomography-posterior-surface |  | dateTimeĵ, Periodĵ, Timingĵ, instantĵ | Quantity, CodeableConcept, string, boolean, integer, Range, Ratio, SampledData, time, dateTime, Period | optional
| Corneal Tomography - Posterior Surface |  |  | FHIR4Eyes Code System#posterior-keratometry-k1 |  |  | Quantity | optional
| Corneal Tomography - Posterior Surface |  |  | FHIR4Eyes Code System#posterior-keratometry-k2 |  |  | Quantity | optional
| Corneal Tomography - Posterior Surface |  |  | FHIR4Eyes Code System#posterior-keratometry-km |  |  | Quantity | optional
| Corneal Tomography - Posterior Surface |  |  | FHIR4Eyes Code System#corneal-astigmatism-posterior |  |  | Quantity | optional
| Corneal Tomography - Posterior Surface |  |  | FHIR4Eyes Code System#corneal-asphericity-q-posterior |  |  | Quantity | optional
| Corneal Tomography - Posterior Surface |  |  | FHIR4Eyes Code System#elevation-posterior |  |  | Quantity | optional
| Corneal Tomography - Posterior Surface |  |  | FHIR4Eyes Code System#best-fit-sphere-radius-posterior |  |  | Quantity | optional
gaze-position-measurement | Gaze Position Measurement | null#exam |  | FHIR4Eyes Code System#gaze-position-measurement |  | dateTime, Period, Timing, instant |  | optional
| Gaze Position Measurement |  |  | FHIR4Eyes Code System#gaze-position |  |  | CodeableConcept | optional
| Gaze Position Measurement |  |  | FHIR4Eyes Code System#fixating-eye |  |  | CodeableConcept | optional
| Gaze Position Measurement |  |  | FHIR4Eyes Code System#horizontal-deviation |  |  | Quantity | optional
| Gaze Position Measurement |  |  | FHIR4Eyes Code System#horizontal-deviation-direction |  |  | CodeableConcept | optional
| Gaze Position Measurement |  |  | FHIR4Eyes Code System#vertical-deviation |  |  | Quantity | optional
| Gaze Position Measurement |  |  | FHIR4Eyes Code System#vertical-deviation-direction |  |  | CodeableConcept | optional
| Gaze Position Measurement |  |  | FHIR4Eyes Code System#gaze-position-finding |  |  | CodeableConcept | optional
hirschberg-test | Hirschberg Test | null#exam |  | FHIR4Eyes Code System#hirschberg-test |  | dateTime, Period, Timing, instant |  | optional
intraocular-pressure | Intraocular Pressure | null#exam |  | SNOMED CT#41633001 |  | dateTimeĵ, Periodĵ, Timingĵ, instantĵ | Quantityĵ | optional
iol-formula-result | IOL Formula Result | null#exam |  | FHIR4Eyes Code System#iol-formula-result |  | dateTimeĵ, Periodĵ, Timingĵ, instantĵ | Quantity, CodeableConcept, string, boolean, integer, Range, Ratio, SampledData, time, dateTime, Period | optional
| IOL Formula Result |  |  | FHIR4Eyes Code System#iol-formula |  |  | CodeableConcept | optional
| IOL Formula Result |  |  | FHIR4Eyes Code System#iol-lens-constant-type |  |  | CodeableConcept | optional
| IOL Formula Result |  |  | FHIR4Eyes Code System#iol-lens-constant-value |  |  | Quantity | optional
| IOL Formula Result |  |  | FHIR4Eyes Code System#iol-model |  |  | string | optional
| IOL Formula Result |  |  | FHIR4Eyes Code System#iol-power |  |  | Quantity | optional
| IOL Formula Result |  |  | FHIR4Eyes Code System#iol-expected-refraction |  |  | Quantity | optional
| IOL Formula Result |  |  | FHIR4Eyes Code System#iol-power-table |  |  | string | optional
krimsky-test | Krimsky Test | null#exam |  | FHIR4Eyes Code System#krimsky-test |  | dateTime, Period, Timing, instant |  | optional
| Krimsky Test |  |  | FHIR4Eyes Code System#test-distance-category |  |  | CodeableConcept | optional
| Krimsky Test |  |  | FHIR4Eyes Code System#correction-status |  |  | CodeableConcept | optional
near-point-of-convergence | Near Point of Convergence | null#exam |  | FHIR4Eyes Code System#near-point-of-convergence |  | dateTime, Period, Timing, instant | Quantityĵ, CodeableConceptĵ | optional
ocular-motility | Ocular Motility | null#exam |  | FHIR4Eyes Code System#ocular-motility |  | dateTime, Period, Timing, instant | Quantity, CodeableConcept, string, boolean, integer, Range, Ratio, SampledData, time, dateTime, Period | optional
| Ocular Motility |  |  | FHIR4Eyes Code System#extraocular-muscle |  |  | CodeableConcept | optional
| Ocular Motility |  |  | FHIR4Eyes Code System#extraocular-muscle-function |  |  | CodeableConcept | optional
ophthalmic-humphrey-visual-field | Ophthalmic Humphrey Visual Field | null#exam |  | FHIR4Eyes Code System#visual-field-static-perimetry |  | dateTimeĵ, Periodĵ, Timingĵ, instantĵ | Quantity, CodeableConcept, string, boolean, integer, Range, Ratio, SampledData, time, dateTime, Period | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#visual-field-test-pattern |  |  | CodeableConcept | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#visual-field-mean-deviation |  |  | Quantity | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#visual-field-pattern-standard-deviation |  |  | Quantity | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#visual-field-index |  |  | Quantity | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#glaucoma-hemifield-test |  |  | CodeableConcept | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#fixation-losses |  |  | Ratio | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#false-positive-errors |  |  | Quantity | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#false-negative-errors |  |  | Quantity | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#visual-field-screening-mode |  |  | CodeableConcept | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#visual-field-fixation-strategy |  |  | CodeableConcept | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#perimetry-stimulus-size |  |  | CodeableConcept | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#perimetry-stimulus-color |  |  | CodeableConcept | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#perimetry-background-luminance |  |  | Quantity | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#perimetry-max-stimulus-luminance |  |  | Quantity | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#perimetry-stimulus-duration |  |  | Quantity | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#visual-field-horizontal-extent |  |  | Quantity | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#visual-field-vertical-extent |  |  | Quantity | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#visual-field-shape |  |  | CodeableConcept | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#foveal-sensitivity |  |  | Quantity | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#visual-field-test-duration |  |  | Quantity | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#visual-field-test-point-count |  |  | Quantity | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#correction-status |  |  | CodeableConcept | optional
| Ophthalmic Humphrey Visual Field |  |  | FHIR4Eyes Code System#correction-lens-power |  |  | Quantity | optional
ophthalmic-oct-macula | Ophthalmic OCT Macula | null#exam |  | LOINC#57119-0 |  | dateTimeĵ, Periodĵ, Timingĵ, instantĵ | Quantity, CodeableConcept, string, boolean, integer, Range, Ratio, SampledData, time, dateTime, Period | optional
| Ophthalmic OCT Macula |  |  | LOINC#57109-1 |  |  | Quantity | optional
| Ophthalmic OCT Macula |  |  | LOINC#57108-3 |  |  | Quantity | optional
| Ophthalmic OCT Macula |  |  | FHIR4Eyes Code System#central-subfield-thickness-min |  |  | Quantity | optional
| Ophthalmic OCT Macula |  |  | FHIR4Eyes Code System#central-subfield-thickness-max |  |  | Quantity | optional
| Ophthalmic OCT Macula |  |  | LOINC#57110-9 |  |  | Quantity | optional
| Ophthalmic OCT Macula |  |  | LOINC#57111-7 |  |  | Quantity | optional
| Ophthalmic OCT Macula |  |  | LOINC#57112-5 |  |  | Quantity | optional
| Ophthalmic OCT Macula |  |  | LOINC#57113-3 |  |  | Quantity | optional
| Ophthalmic OCT Macula |  |  | LOINC#57114-1 |  |  | Quantity | optional
| Ophthalmic OCT Macula |  |  | LOINC#57115-8 |  |  | Quantity | optional
| Ophthalmic OCT Macula |  |  | LOINC#57116-6 |  |  | Quantity | optional
| Ophthalmic OCT Macula |  |  | LOINC#57117-4 |  |  | Quantity | optional
| Ophthalmic OCT Macula |  |  | LOINC#57118-2 |  |  | Quantity | optional
| Ophthalmic OCT Macula |  |  | FHIR4Eyes Code System#macular-subfield-volume |  |  | Quantity | optional
| Ophthalmic OCT Macula |  |  | FHIR4Eyes Code System#etdrs-grid-diameters |  |  | string | optional
| Ophthalmic OCT Macula |  |  | FHIR4Eyes Code System#retinal-thickness-definition |  |  | CodeableConcept | optional
| Ophthalmic OCT Macula |  |  | FHIR4Eyes Code System#normative-deviation-category |  |  | CodeableConcept | optional
| Ophthalmic OCT Macula |  |  | FHIR4Eyes Code System#anatomic-reference-point |  |  | CodeableConcept | optional
| Ophthalmic OCT Macula |  |  | FHIR4Eyes Code System#pupil-dilated |  |  | CodeableConcept | optional
| Ophthalmic OCT Macula |  |  | FHIR4Eyes Code System#mydriatic-agent |  |  | CodeableConcept | optional
| Ophthalmic OCT Macula |  |  | FHIR4Eyes Code System#pupil-dilation-degree |  |  | Quantity | optional
| Ophthalmic OCT Macula |  |  | FHIR4Eyes Code System#signal-strength |  |  | Quantity | optional
ophthalmic-oct-rnfl | Ophthalmic OCT RNFL | null#exam |  | LOINC#86291-2 |  | dateTimeĵ, Periodĵ, Timingĵ, instantĵ | Quantity, CodeableConcept, string, boolean, integer, Range, Ratio, SampledData, time, dateTime, Period | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#optic-cup-area |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#optic-cup-volume |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#neuroretinal-rim-volume |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#cup-disc-ratio-horizontal |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#cup-disc-ratio-vertical |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#optic-disc-diameter-horizontal |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#optic-disc-diameter-vertical |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#optic-disc-diameter-mean |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#optic-cup-diameter-horizontal |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#optic-cup-diameter-vertical |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#optic-cup-diameter-mean |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#optic-cup-depth-mean |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#optic-cup-depth-max |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#optic-disc-vertical-horizontal-ratio |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#optic-cup-vertical-horizontal-ratio |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#rim-disc-area-ratio |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#neuroretinal-rim-absence-extent |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#disc-damage-likelihood-scale |  |  | integer | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#rnfl-symmetry |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#rnfl-thickness-mean-tsnit |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#rnfl-thickness-tsnit-sd |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#rnfl-thickness-superior |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#rnfl-thickness-inferior |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#rnfl-thickness-nasal |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#rnfl-thickness-temporal |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#signal-strength |  |  | Quantity | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#retinal-thickness-definition |  |  | CodeableConcept | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#pupil-dilated |  |  | CodeableConcept | optional
| Ophthalmic OCT RNFL |  |  | FHIR4Eyes Code System#mydriatic-agent |  |  | CodeableConcept | optional
ophthalmic-ocular-biometry | Ophthalmic Ocular Biometry | null#exam |  | FHIR4Eyes Code System#ocular-biometry |  | dateTimeĵ, Periodĵ, Timingĵ, instantĵ | Quantity, CodeableConcept, string, boolean, integer, Range, Ratio, SampledData, time, dateTime, Period | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#axial-length |  |  | Quantity | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#axial-length-measurement-type |  |  | CodeableConcept | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#axial-length-snr |  |  | Quantity | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#axial-length-selection-method |  |  | CodeableConcept | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#anterior-chamber-depth |  |  | Quantity | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#anterior-chamber-depth-definition |  |  | CodeableConcept | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#lens-thickness |  |  | Quantity | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#lens-status |  |  | CodeableConcept | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#vitreous-status |  |  | CodeableConcept | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#keratometry-k1 |  |  | Quantity | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#keratometry-k1-axis |  |  | Quantity | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#keratometry-k1-radius |  |  | Quantity | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#keratometry-k2 |  |  | Quantity | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#keratometry-k2-axis |  |  | Quantity | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#keratometry-k2-radius |  |  | Quantity | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#keratometry-km |  |  | Quantity | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#keratometry-mean-radius |  |  | Quantity | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#corneal-astigmatism |  |  | Quantity | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#keratometric-index |  |  | Quantity | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#white-to-white |  |  | Quantity | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#pupil-diameter |  |  | Quantity | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#mydriatic-agent |  |  | CodeableConcept | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#pupil-dilated |  |  | CodeableConcept | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#refractive-surgery-history |  |  | CodeableConcept | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#target-refraction |  |  | Quantity | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#refractive-error-type |  |  | CodeableConcept | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#measurement-data-source |  |  | CodeableConcept | optional
| Ophthalmic Ocular Biometry |  |  | FHIR4Eyes Code System#vertex-distance |  |  | Quantity | optional
ophthalmic-specular-microscopy | Ophthalmic Specular Microscopy | null#exam |  | FHIR4Eyes Code System#specular-microscopy-panel |  | dateTimeĵ, Periodĵ, Timingĵ, instantĵ | Quantity, CodeableConcept, string, boolean, integer, Range, Ratio, SampledData, time, dateTime, Period | optional
| Ophthalmic Specular Microscopy |  |  | FHIR4Eyes Code System#specular-capture-position |  |  | CodeableConcept | optional
| Ophthalmic Specular Microscopy |  |  | FHIR4Eyes Code System#specular-analysis-method |  |  | CodeableConcept | optional
| Ophthalmic Specular Microscopy |  |  | FHIR4Eyes Code System#endothelial-cell-density |  |  | Quantity | optional
| Ophthalmic Specular Microscopy |  |  | FHIR4Eyes Code System#endothelial-cells-counted |  |  | Quantity | optional
| Ophthalmic Specular Microscopy |  |  | FHIR4Eyes Code System#endothelial-cell-area-cv |  |  | Quantity | optional
| Ophthalmic Specular Microscopy |  |  | FHIR4Eyes Code System#endothelial-hexagonality |  |  | Quantity | optional
| Ophthalmic Specular Microscopy |  |  | FHIR4Eyes Code System#central-corneal-thickness |  |  | Quantity | optional
| Ophthalmic Specular Microscopy |  |  | FHIR4Eyes Code System#endothelial-cell-area-min |  |  | Quantity | optional
| Ophthalmic Specular Microscopy |  |  | FHIR4Eyes Code System#endothelial-cell-area-max |  |  | Quantity | optional
| Ophthalmic Specular Microscopy |  |  | FHIR4Eyes Code System#endothelial-cell-area-mean |  |  | Quantity | optional
| Ophthalmic Specular Microscopy |  |  | FHIR4Eyes Code System#endothelial-cell-area-sd |  |  | Quantity | optional
ophthalmic-visual-acuity | Ophthalmic Visual Acuity | null#exam |  | SNOMED CT#363983007 |  | dateTimeĵ, Periodĵ, Timingĵ, instantĵ | Quantityĵ, CodeableConceptĵ, Ratioĵ | optional
| Ophthalmic Visual Acuity |  |  | FHIR4Eyes Code System#test-distance |  |  | Quantity | optional
| Ophthalmic Visual Acuity |  |  | FHIR4Eyes Code System#correction-status |  |  | CodeableConcept | optional
| Ophthalmic Visual Acuity |  |  | LOINC#79908-0 |  |  | CodeableConcept | optional
| Ophthalmic Visual Acuity |  |  | FHIR4Eyes Code System#visual-acuity-scale |  |  | CodeableConcept | optional
| Ophthalmic Visual Acuity |  |  | FHIR4Eyes Code System#pinhole-used |  |  | boolean | optional
pachymetry | Pachymetry | null#exam |  | FHIR4Eyes Code System#central-corneal-thickness |  | dateTimeĵ, Periodĵ, Timingĵ, instantĵ | Quantityĵ | optional
prism-cover-test | Prism Cover Test | null#exam |  | FHIR4Eyes Code System#prism-cover-test |  | dateTime, Period, Timing, instant |  | optional
| Prism Cover Test |  |  | FHIR4Eyes Code System#test-distance-category |  |  | CodeableConcept | optional
| Prism Cover Test |  |  | FHIR4Eyes Code System#correction-status |  |  | CodeableConcept | optional
red-filter-light-test | Red Filter Light Test | null#exam |  | FHIR4Eyes Code System#red-filter-light-test |  | dateTime, Period, Timing, instant |  | optional
| Red Filter Light Test |  |  | FHIR4Eyes Code System#test-distance-category |  |  | CodeableConcept | optional
| Red Filter Light Test |  |  | FHIR4Eyes Code System#correction-status |  |  | CodeableConcept | optional
stereopsis-test | Stereopsis Test | null#exam |  | FHIR4Eyes Code System#stereopsis-test |  | dateTime, Period, Timing, instant | Quantityĵ, CodeableConceptĵ | optional
| Stereopsis Test |  |  | FHIR4Eyes Code System#stereopsis-test-type |  |  | CodeableConcept | optional
strabismus-exam | Strabismus Exam | null#exam |  | FHIR4Eyes Code System#strabismus-exam |  | dateTimeĵ, Periodĵ, Timingĵ, instantĵ |  | optional
tension-curve | Tension Curve | null#exam |  | FHIR4Eyes Code System#tension-curve |  | Periodĵ |  | optional
worth-4-dot-test | Worth 4 Dot Test | null#exam |  | FHIR4Eyes Code System#worth-4-dot-test |  | dateTime, Period, Timing, instant |  | optional
| Worth 4 Dot Test |  |  | FHIR4Eyes Code System#test-distance-category |  |  | CodeableConcept | optional
| Worth 4 Dot Test |  |  | FHIR4Eyes Code System#correction-status |  |  | CodeableConcept | optional